Liquid Medical Oxygen (LMO) Plant Room Setup

For a 1280-bed tertiary care medical college hospital, the LMO system should be designed with:

- Primary, secondary, and reserve oxygen sources

- HTM 02-01 / NFPA 99C compliant MGPS infrastructure

- Safe plant room layout with fire protection and redundancy

- Future scalability for ICU, OT, emergency and critical care expansion

Hospital Details

- 1280 Census Beds

- Medical College & Teaching Hospital

- Multi-Specialty & Super Specialty Services

- ICU, Emergency, Modular OT, NICU, PICU, Cath Lab etc.

Objective

To establish a safe, reliable and uninterrupted Medical Oxygen Supply System compliant with:

- HTM 02-01

- NFPA 99C

- NABH

- PESO

- Fire Safety Norms

Slide 3 – Need for LMO System

Why LMO?

- Continuous bulk oxygen supply

- Suitable for large bedded hospitals

- Better pressure stability

- Lower operational dependency on cylinders

- Cost-effective for high consumption hospitals

- Essential for ICU & OT load management

Estimated Load Calculation

| Area | Approx Beds/Units | Estimated Oxygen Demand |
| --- | --- | --- |
| ICU/HDU | 250+ | High |
| Wards | 800+ | Moderate |
| OTs | 25+ | High |
| Emergency | 50+ | High |
| NICU/PICU | 40+ | Critical |

Proposed Capacity

- Main LMO Tank: 20 KL to 30 KL

- Backup Manifold System

- Reserve Cylinder Bank

- MGPS Network Integration

Standards & Compliance

Applicable Standards

- HTM 02-01

- NFPA 99C

- ISO 7396-1

- NABH Guidelines

- PESO Approval

- Local Fire NOC Requirements

Compliance Requirements

- Ventilated plant room

- Fire-rated safety provisions

- Alarm systems

- Pressure monitoring

- Emergency backup source

Slide 6 – Proposed System Architecture

System Components

- LMO Storage Tank

- Ambient Vaporizer

- Pressure Reducing Station

- MGPS Pipeline Network

- Valve Box System

- Alarm Panels

- Backup Cylinder Manifold

- Emergency Reserve Bank

Add a flow diagram:
LMO Tank → Vaporizer → Pressure Reduction → MGPS → Hospital Areas

Slide 7 – Plant Room Requirements

Civil Requirements

- RCC Foundation

- Dedicated plant room

- Safety fencing

- Truck access area

- Non-combustible flooring

Utility Requirements

- Electrical panel

- Earthing

- Lighting

- Drainage

- Ventilation

Safety Requirements

- Fire extinguishers

- Hydrant coverage

- Gas leak detection

- Safety signage

Slide 8 – Comparison of Vendors

Parameter; Inox; Linde; Wilson; Shakti Gases; Air Liquide. Industry Experience; High; High; Medium; Medium; High. PAN India Support; Yes; Yes; Limited; Limited; Yes. MGPS Capability; Yes; Yes; Yes; Yes; Yes. Installation Capability; Strong; Strong; Moderate; Moderate; Strong. Service Support; Good; Excellent; Moderate; Moderate; Excellent. Compliance Standards; HTM/NFPA; HTM/NFPA; HTM/NFPA; HTM/NFPA; HTM/NFPA. Cost Competitiveness; Medium; High; Medium; Competitive; High.

Slide 9 – Vendor Evaluation Criteria

Evaluation Parameters

- Technical Compliance

- Safety Standards

- Installed Base

- Service Support

- Project Timeline

- Costing

- Warranty & AMC

- Emergency Support

- References

Slide 11 – Proposed Timeline

| Activity | Duration |
| --- | --- |
| Design Finalization | 2 Weeks |
| Vendor Finalization | 1 Week |
| Civil Work | 4 Weeks |
| Tank Installation | 3 Weeks |
| MGPS Integration | 3 Weeks |
| Testing & Commissioning | 1 Week |

Total Estimated Duration

10–12 Weeks

Recommended Scope

- HTM/NFPA compliant LMO system

- Dual backup arrangement

- Centralized monitoring

- Future expansion provision

- Long-term AMC support