## Slide 1: CBU-01 Liquid Medical Oxygen 15.05.2026
A. Meeting Number - CBU - 1/2026
B. Category : Product and Service
C. Product -Permanent Installation of Liquid Medical Oxygen Plant
D. Service - Supply of Liquid Oxygen by Tanker
E. Mandate by NMC (Yes / No ) : Yes
F. Vital / Essential / Desirable : Vital for Hospital
G. Domestic : (No Import)

## Slide 2: Liquid Medical Oxygen (LMO) Plant Room Setup
For a 1280 Census-bed tertiary care medical college hospital, the LMO system should be designed with:
Primary, secondary, and reserve oxygen sources
HTM 02-01 / NFPA 99C compliant MGPS infrastructure
Safe plant room layout with fire protection and redundancy
Future scalability for ICU, OT, emergency and critical care expansion

## Slide 3: Need for LMO
Continuous bulk oxygen supply
Suitable for large bedded hospitals
Better pressure stability
Lower operational dependency on cylinders
Cost-effective for high consumption hospitals
Essential for ICU & OT load management

## Slide 4: Prerequisite and Participants
Prerequisite :
Space Allocation as per Chief Controller of Explosives (CCOE) & Petroleum and Explosives Safety Organization.(PESO) =9*17 Mts
Following Companies are participating
1. Linde
2. Shakti Gas 3. Air Liquide
4. Wilson
5. Inox

## Slide 5: Evaluation Parameters
Technical Compliance
Safety Standards
Installed Base
Service Support
Project Timeline
Costing
Warranty & AMC
Emergency Support
References

## Slide 6: Comparison of Vendors
Parameter | Inox | Linde | Wilson | Shakti Gases | Air Liquide
Industry Experience | High | High | Medium | Medium | High
PAN India Support | Yes | Yes | Regional | Regional | Yes
MGPS Capability | Yes | Yes | Yes | Yes | Yes
Installation Capability | Strong | Strong | Moderate | Moderate | Strong
Compliance Standards | HTM/NFPA | HTM/NFPA | HTM/NFPA | HTM/NFPA | HTM/NFPA
Cost Competitiveness | Medium | High | Medium | Competitive | High

## Slide 7: Preferred Criterion : For JECRC
No upfront CAPEX and Direct cost for LMO Tank
ii) Qualifying Vendor to have self - owned manufacturing of Cryogenic Oxygen Plant to be in proximity to our Hospital as Cost of transportation is recurrent expense for us

## Slide 8
Area | Approx Beds/Units | Estimated Oxygen Demand
ICU/HDU | 250+ | High
Wards | 800+ | Moderate
OTs | 25+ | High
Emergency | 50+ | High
NICU/PICU | 40+ | Critical
Estimated Load Calculation
Proposed Capacity
Main LMO Tank: 20 KL to 30 KL
Backup Manifold System
Reserve Cylinder Bank
MGPS Network Integration
Estimated Load Calculation
Proposed Capacity
Main LMO Tank: 13KL to 30 KL
Backup Manifold System
Reserve Cylinder Bank
MGPS Network Integration

## Slide 9: Proposed Timeline
Activity | Duration
Design Finalization | 2 Weeks
Vendor Finalization | 1 Week
Civil Work | 4 Weeks
Tank Installation | 3 Weeks
MGPS Integration | 3 Weeks
Testing & Commissioning | 1 Week
Total Estimated Duration
10–12 Weeks

## Slide 10
Thank You