## Sheet1
| Radiology Department JECRC Medical College Hospital & Research Center Phase-01 |  | Basic Specification as per NMC & Requirements
Sl. No. | Equipment Name | Minimum Technical Specification | Area of Installation | Categogy | LOCATION
1 | X Ray Machine (800mA) with Fluroscopy DR, With Fully Automated Table | 800 mA HF, Single Detector 17"x1 7" FPD, DICOM | Radiology | NMC | LG
2 | X Ray Machine (800mA) Digital Radiography (Ceiling Mounted) | 800 mA HF, Dual 17x17 FPD, DICOM | Radiology | NMC | LG
3 | X Ray Machine Mobile DR | 100-110 mA, Wireless FPD | Radiology | NMC | ALL
4 | X Ray Machine 500mA Digital Radiography (Floor Mounted) |  | Radiology (ECH) | Non NMC (EHC) | FF (Executive Health Check up)
5 | C-ARM | Single Detector with Laser Aimers | Operation Theator | NMC | OT-3rd floor
6 | Laser Printer | Four Tray (8x10, 10x12, 11x14, 14x17) | Radiology | NMC | LG
7 | High-End Ultrasound | Color Doppler, TVS, (Elastography) | Ultrasound Rooms | NMC | LG
8 | Cardiovascular Ultrasound | TEE Compatible | Echo Room | NMC | FF
9 | Portable Ultrasound | Color Doppler | EMG & OT/ICU | NMC | ER & OT/ICU
10 | Lead Aprons | 0.5 mm Pb | Radiology | NMC
11 | LED View Boxes | LED 2Sheet | Radiology | NMC
12 | 3D Tomosynthesis | Digital Mammography | Radiology | Non NMC
13 | DEXA | Bone Densitometer | Radiology | Non NMC | LG
14 | Digital OPG | Panoramic | Radiology | Non NMC | LG
15 | Dental X-Ray | Intraoral | Radiology | Non NMC | FF
16 | 3 Tesla MRI | Whole Body with Breast Coil | Radiology | Non NMC | LG
17 | 256 Slice CT | Cardiac Package | Radiology | NMC | LG
18 | MRI Accessories | Compatible Set | Radiology | Non NMC | LG
19 | CT Accessories | Compatible Set | Radiology | NMC | LG
20 | PET-CT | TOF | Radiology | Non NMC | B-1
21 | Gamma Camera/SPECT-CT | Nuclear Medicine | Radiology | Non NMC | B-1